## SCC INTERIOR
EXHIBIT A - SANTIAGO CANYON COLLEGE- INTERIOR LIGHTING SURVEY
COMPLETED AUGUST 7, 2014
BUILDING | ROOM/DESCRIPTION | EXISTING FIXTURE QTY | EXISTING CONFIGURATION | NEW QTY | NEW REPLACEMENT | TYPE | BATTERY BU | NOTES | 2-4-22W | 3-4-28W | 4-4-36W | 2-2-18W 2X2 | 1-4-22W | 1-4-14W | 4' 18W Tubes with 1 36 watt driver | 1-2-9w | 2-2-18W 2X2 w/dimmable driver | 3-4-28W with dimmable driver | 3-4-36W | 4-4-44W | Additional Driver-Bi lev | Cireon HB | UNIT PRICE | EXTENDED PRICE
U-BUILDING
U | 105-3 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
U | 105-1 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
U | 104 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 103 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 102 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 101 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | MAPPING ROOM | 6 | TR2-32W | 6 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 6
U | 100 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 99 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 98 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 97 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 96 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 95 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 94 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 93 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 92 | 18 | TR2-32W | 18 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 18
U | 90 | 16 | TR4-32W | 16 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 16
U | 90-1 | 2 | TR4-32W | 2 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2
U | 89 | 18 | TR4-32W | 18 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 18
U | 88 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | RESTROOM-M | 3 | TR4-32W | 3 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 3
U | RESTROOM-W | 3 | TR4-32W | 3 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 3
U | 87 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 86 | 12 | TR2-32W | 12 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12
U | 85 | 30 | TR2-32W | 30 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 30
U | STORAGE | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
U | OFFICE | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
U | OFFICE | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
U | 84 OPEN AREA AND OFFICE | 25 | TR4-32W | 25 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 25
U | 83 | 24 | TR4-32W | 24 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 24
U | 82 | 12 | TR4-32W | 12 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 12
U | 81 | 12 | TR4-32W | 12 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 12
U | 80 OPEN | 30 | TR4-32W | 30 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 30
U | 80-2 | 2 | TR-4-32W | 2 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2
U | 80-1 | 2 | TR-4-32W | 2 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2
U | 78 | 18 | TR4-32W | 18 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 18
Building U Totals | [8 empty] | 242 | 4 | 167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
T- BUILDING
T | CORRIDOR AREAS (NURSE) | 1 | TR2-32W (2X2) | 1 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 1
T | CORRIDOR AREAS (NURSE) | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
T | CORRIDOR AREAS | 1 | TR2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
T | 102-2 NURSE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | 102-9 NURSE | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | 102-3 NURSE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | 102-4 NURSE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | 102-10 NURSES AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | 102-8 NURSE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | RESTROOM NURSE AREA | 2 | TR2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
T | 102-6 NURSE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
T | CAFETERIA/KITCHEN AREA | 20 | TR-3-32W | 20 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | ALLOWANCE ITEM. NO ACCESS TO SURVEY |  | 20
Building T totals | [8 empty] | 0 | 42 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
A-BUILDING
A | 201 | 30 | TR3-32W | 30 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 30
A | 201-1 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
A | 201-2 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
A | 201-3 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
A | 201-4 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
A | 201-5 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
A | 202-1 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
A | 203 OPEN AREA | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
A | 204 | 19 | TR3-32W | 19 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 19
A | 205 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
A | 206 | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
A | 206-A | 10 | TR3-32W | 10 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 10
A | 207 | 8 | OS2-32W | 8 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 8
A | 208 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
A | 209 | 20 | TR3-32W | 20 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 20
A | 210 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
A | 211 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
A | 212 | 23 | TR3-32W | 23 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 23
A | 213 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
A | 216 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
A | 217-RESTROOM-M (2ND) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
A | 218-RESTROOM-W (2ND) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
A | 104 | 8 | TR2-32W | 8 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 8
A | 105 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
A | 106 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
A | 107 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
A | 108 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
A | 110-RESTROOM-M (1ST) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
A | 110-RESTROOM-M (1ST) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
A | 109-RESTROOM-W (1ST) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
A | 109-RESTROOM-W (1ST) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
A | 111 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
A | 113 | 16 | OS2-32W | 16 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | 50K (DUNGEON AREA) |  |  |  |  | 16
A | 113-1 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
A | 101-BOOKSTORE | 24 | TR3-32W | 24 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 24
A | 104-BOOKSTORE | 8 | TR2-32W | 8 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 8
Building A totals | [8 empty] | 38 | 279 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B-BUILDING
B | 207 | 16 | TR3-32W | 16 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 16
B | 208 | 16 | TR3-32W | 16 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 16
B | 209 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
B | 210 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
B | 211 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
B | 212 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
B | 213 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8
B | 214 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
B | 215 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
B | 216-RESTROOM-M (2ND) | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
B | 216-RESTROOM-M (2ND) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
B | 217-RESTROOM-W (2ND) | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
B | 217-RESTROOM-W (2ND) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
B | 201 | 30 | TR3-32W | 30 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 30
B | 202 | 16 | TR3-32W | 16 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 16
B | 203 | 48 | TR2-32W (2X2) | 48 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 48
B | 203-2 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
B | 203-3 | 6 | TR2-32W (2X2) | 6 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 6
B | 203-1 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
B | 204 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
B | 205 | 12 | OS2-32W | 12 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 12
B | 109- CUSTODIAL | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | ALLOWANCE ITEM- NO ACCESS TO SURVEY |  |  |  |  | 2
B | 110- MECHANICAL | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | ALLOWANCE ITEM- NO ACCESS TO SURVEY |  |  |  |  | 2
B | 108-RESTROOM-M (1ST) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
B | 108-RESTROOM-M (1ST) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
B | 107-RESTROOM-W (1ST) | 5 | TR2-32W | 5 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
B | 107-RESTROOM-W (1ST) | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
B | 106 | 25 | TR3-32W | 25 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 25
B | 105 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
B | 104 | 28 | TR3-32W | 28 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 28
B | 103 | 18 | TR3-32W | 18 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 18
B | 103 | 4 | TR2-32W (2X2) | 4 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 4
B | 102 | 25 | TR3-32W | 25 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 25
B | 102-1 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
B | 102-2 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
B | 101 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
Building B Totals | [8 empty] | 22 | 247 | 0 | 58 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
C-BUILDING
C | OPEN AREA- RECEPTION | 13 | TR2-32W (2X2) | 13 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 13
C | 105 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
C | 104 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
C | 105-STAFF BATH | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
C | 107 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
C | 113 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
C | 118 | 2 | TR4-32W | 2 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2
C | 119 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
C | 117 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
C | 114-CHANGING AREA | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3
C | 115 | 21 | TR2-32W | 21 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 21
C | 112 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
C | 114-TOILET | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
C | 112-TOILET | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
BUILDING C MOD | ALL MODULAR AREA | 20 | TR4-32W | 20 | 4-4-36W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 20
Building C Totals | [8 empty] | 26 | 39 | 22 | 13 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
E-BUILDING
E | 110-MENS-1ST | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 4
E | 111-WOMENS-1ST | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 4
E | 105 | 22 | TR3-32W | 22 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 22 | [10 empty] | 22
E | 106 | 6 | TR3-32W | 6 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6 | [10 empty] | 6
E | 108 | 21 | TR3-32W | 21 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 21 | [10 empty] | 21
E | 109 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 101 | 20 | TR3-32W | 20 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 20 | [10 empty] | 20
E | 102 | 5 | TR3-32W | 5 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 5 | [10 empty] | 5
E | 103 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 104 | 1 | TR2-32W (2X2) | 1 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 1
E | 104 | 13 | TR3-32W | 13 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 13 | [10 empty] | 13
E | 112 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
E | 207-MENS-2ND | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 4
E | 208-WOMENS-2ND | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 4
E | 206 | 16 | TR3-32W | 16 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 16 | [10 empty] | 16
E | 206 | 5 | TR2-32W | 5 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 5 | [10 empty] | 5
E | 205 | 9 | TR3-32W | 9 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 9 | [10 empty] | 9
E | 205 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
E | 204 | 9 | TR3-32W | 9 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 9 | [10 empty] | 9
E | 204 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
E | 203 | 37 | TR3-32W | 37 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 37 | [10 empty] | 37
E | 202 | 7 | TR3-32W | 7 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 7 | [10 empty] | 7
E | 309-MENS-3RD | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 4
E | 310-WOMENS-3RD | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 4
E | 309-1 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
E | 309-2 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
E | 311 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 312 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 313 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 314 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 315 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 316 | 2 | TR3-32W | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
E | 302 | 6 | TR3-32W | 6 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6 | [10 empty] | 6
E | 303 | 12 | TR3-32W | 12 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12 | [10 empty] | 12
E | 303 | 5 | TR2-32W | 5 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5
E | 304 | 10 | TR3-32W | 10 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 10 | [10 empty] | 10
E | 304 | 2 | TR2-32 (2X2) | 2 | 2-2-18W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 2 | [8 empty] | 2
E | 304-1 STORAGE | 3 | OS2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 3
E | 305 | 12 | TR3-32W | 12 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12 | [10 empty] | 12
E | 305 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
E | 306 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
E | 306 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
E | 307 | 9 | TR3-32W | 9 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 9 | [10 empty] | 9
E | 307 | 4 | TR2-32W | 4 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4 | [11 empty] | 4
E | 308 | 12 | TR3-32W | 12 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12 | [10 empty] | 12
E | 308 | 3 | TR2-32W | 3 | 2-4-22W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 | [11 empty] | 3
Building E Totals | [8 empty] | 27 | 247 | 0 | 3 | 16 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 271 | 0 |  | 0
M- BUILDING
M | 101-1 Conference Room | 2 | ID3-32W | 2 | 2-TUBES-18W | LED TUBE WITH EXTERNAL BALLAST | [8 empty] | 4
M | 101-E | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
M | Lobby | 8 | TR2-32W | 8 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 8
M | 102 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
M | BATH M | 1 | ID2-32W | 1 | 2-TUBES-18W | LED TUBE WITH EXTERNAL BALLAST | [8 empty] | 2
M | BATH W | 1 | ID2-32W | 1 | 2-TUBES-18W | LED TUBE WITH EXTERNAL BALLAST | [8 empty] | 2
M | 113 E | 6 | TR2-32W | 6 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 6
M | 113-1 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
M | 113-2 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
M | 113-3 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
M | 104 | 12 | OS2-32W | 12 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 12
M | 105 | 12 | OS2-32W | 12 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 12
M | 106 | 132 | OS2-32W | 132 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 132
M | 107 | 12 | OS2-32W | 12 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 12
M | 108 | 9 | OS2-32W | 9 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 9
M | 109 | INCLUDED | INCLUDED | INCLUDED | INCLUDED
M | EXTERIOR RESTROOM | 1 | ID2-32W | 1 | 2-TUBES-14W | LED TUBE WITH EXTERNAL BALLAST | [8 empty] | 2
M | ELECTRICAL/IDF ROOM | 6 | OS2-32W | 6 | 1-4-22W | LED TUBE WITH EXTERNAL BALLAST |  | ALLOWANCE ITEM. NO ACCESS TO SURVEY |  |  |  |  | 5
Building M Totals | [8 empty] | 23 | 0 | 0 | 0 | 182 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
G-BUILDING
G | lobby (1st floor) | 23 | TR2-32W | 23 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 23
G | 101 | 32 | TR2-32W | 32 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 32
G | 101 | 7 | TR1-17W | 7 | 1-2-9W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [9 empty] | 7
G | 102 | 3 | TR2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 3
G | 104 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
G | BATH- M | 18 | OS1-32W | 18 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 18
G | BATH-W | 18 | OS1-32W | 18 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 18
G | BATH M | 6 | OS1-32W | 6 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 6
G | BATH M | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
G | BATH W | 6 | OS1-32W | 6 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 6
G | BATH W | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
G | 108 | 3 | OS2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 3
G | 109 | 6 | OS2-32W | 6 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 6
G | CORRIDOR | 17 | TR2-32W | 17 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 17
G | 110 STRGE | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
G | 110 FITNESS | 54 | TR2-32W | 54 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 54
G | 110 FITNESS | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 110 | 1 | OS1-32W | 1 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 1
G | 110 STRGE | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 111 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
G | 112 | 15 | TR2-32W | 15 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 15
G | 113 | 7 | TR2-32W | 7 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 7
G | 117 | 7 | TR2-32W | 7 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 7
G | 118 | 28 | OS2-32W | 28 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 28
G | 118 OFFICE | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 213 | 32 | TR2-32W | 32 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 32
G | 213 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | VERIFY CNT | 2
G | 212 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 211 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 210 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 209 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2
G | 208 | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
G | BATH M X 2 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
G | BATH W X 2 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
G | 207 | 4 | TR2-32W | 4 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4
G | 204 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
G | 205 | 16 | TR2-32W | 16 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 16
G | 206 | 6 | TR2-32W | 6 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 6
G | 206 | 40 | TR2-32W | 40 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 40
G | Gym Court | 60 | HIGH BAY GYM | 60 | HIGH BAY | LED HIGH BAY FIXTURE AND LAMP |  | INCLUDE $10,000 FOR WIRELESS CONTROL SYSTEM | [13 empty] | 60
G | 114 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
G | 217- POOL STORAGE | 8 | OS2-32W | 8 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 8
G | POOL EQUIPMENT ROOM AND ACID/CHLORINE ROOM | 14 | OS2-32W | 14 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 14
Building G Totals | [8 empty] | 284 | 0 | 0 | 0 | 66 | 51 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 60 |  | 0
D-BUILDING
D | HALLWAY 1 ST FLOOR | 26 | TR2-32W (2X2) | 26 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 26
D | HALLWAY 1 ST FLOOR- OPEN STRIP | 36 | OS1-32W | 36 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 36
D | 106-OPEN AREA | 9 | TR3-32W | 9 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 9
D | 106-OPEN AREAS | 54 | OS2-32W | 54 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 54
D | 108- HALLWAYS | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
D | 109 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
D | 109-MAIN CLASSROOM | 35 | OS2-32W | 35 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 35
D | 109-1 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 108-1 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 108-2 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 108-3 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 108-4 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 108-5 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | COUNSELING OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | COUNSELING OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 106-3 OFFICE | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 106-4 OFFICE | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | COUNSELING OFFICE (BACKSIDE) | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | COUNSELING OFFICE (BACKSIDE) | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | COUNSELING OFFICE (BACKSIDE) | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 104-1 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 110-3 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | STORAGE 110-3 | 2 | TR1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
D | 110 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
D | 110 | 30 | OS2-32W | 30 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 30
D | BATHROOM -MENS FIRST FLOOR | 6 | OS1-32W | 6 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 6
D | BATHROOM -WOMENS FIRST FLOOR | 6 | OS1-32W | 6 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 6
D | ELEVATOR RM | 1 | OS1-32W | 1 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 1
D | 116 OPEN AREA | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
D | 116-1 OFFICE | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-2 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
D | 116-3 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-4 | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 116-5 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-6 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-7 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-8 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-9 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 116-10 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
D | 116-11 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 117 OFFICE | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
D | 118 | 1 | OS1-32W | 1 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 1
D | STAFF MENS RESTROOM | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
D | STAFF WOMENS RESTROOM | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
D | 122 -SPRINKLER | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
D | 121-MUSIC | 30 | OS2-32W | 30 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 30
D | 121-STORGE | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
D | 123 EQUIPMENT RM | 3 | OS2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 3
D | 125-DANCE | 41 | TR2-32W | 41 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 41
D | 126-OFFICE | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
D | 128-OFFICE | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
D | 127 STORAGE | 1 | OS1-32W | 1 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 1
D | 101 LECTURE | 15 | TR2-32W (2X2) | 15 | 2-2-22W DIMMABLE | LED RETROFIT KIT WITH EXTERNAL BALLAST | [10 empty] | 15
D | 101 LECTURE | 32 | OS1-32W | 32 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 32
D | 102 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
D | 112 ELT RM | 3 | OS1-32W | 3 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 3
D | 129 OPEN AREA | 13 | TR2-32W | 13 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 13
D | 129-3 | 4 | OS2-32W | 4 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 4
D | 129-2 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
D | 129-1 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 2
D | SECOND LEVEL HALLWAY | 22 | TR2-32W (2X2) | 22 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 22
D | SECOND LEVEL HALLWAY | 19 | OS1-32W | 19 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 19
D | 220-CLASS | 17 | TR3-32W | 17 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | MOCK UP AREA. ROOM IS COMPLETE. COST FOR MATERIAL ONLY. |  | 17
D | 221 -CLASS | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
D | 217 | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
D | 222 | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
D | 215 | 15 | TR2-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
D | 216 | 17 | TR3-32W | 17 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 17
D | BATHROOM MENS 2ND FLOOR | 7 | OS1-32W | 7 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 7
D | BATHROOM MENS 2ND FLOOR | 7 | OS1-32W | 7 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 7
D | 209 COMPUTER-OPEN | 20 | TR3-32W | 20 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 20
D | 209 CORNER | 1 | TR2-32W (2X2) | 1 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 1
D | 209-1 | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 209-3 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 209-4 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
D | 208-1 | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
D | 209-2 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 210-MECHANICAL | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
D | 207 | 14 | TR3-32W | 14 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 14
D | 206 | 18 | TR3-32W | 18 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 18
D | 205 | 18 | TR3-32W | 18 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 18
D | 204 | 13 | TR3-32W | 13 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 13
D | 203 OPEN | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
D | 203-1 OFFICE | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 203-2 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 203-3 | 1 | TR2-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1
D | 203-4 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1
D | 203-5 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
D | 201 | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 2
Building D Totals | [8 empty] | 1 | 308 | 0 | 49 | 216 | 131 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 |  | 0
L-BUILDING
L | 116N-RECEIVING OFF | 13 | TR3-32W | 13 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 13
L | LIBRARY-CIRC | 37 | TR3-32W | 37 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 37
L | LIBRARY-FRONT OF CIRC | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
L | 117-1 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 117-2 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 117-3 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 117-4 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 115 | 6 | TR3-32W DIMMABLE | 6 | 3-4-28W DIMMABLE | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6
L | 111 | 4 | TR3-32W BILEVEL | 4 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
L | 110 | 3 | TR3-32W BILEVEL | 3 | 3-4-28 BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3
L | 109 | 12 | TR3-32W | 12 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 12
L | 109-1 | 4 | TR2-32W BILEVEL | 4 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
L | 107-1 | 6 | OS2-32W | 6 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 6
L | 106 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | OPEN AREA 1ST FLOOR | 150 | ID2-32W | 150 | 2-TUBE-18W | LED TUBE WITH EXTERNAL BALLAST | [8 empty] | 150
L | MENS RESTROOM | 5 | OS1-32W | 5 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 5
L | WOMENS RESTROOM | 5 | OS1-32W | 5 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 5
L | 102 | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
L | 105- VESTIBULE | 6 | TR3-32W DIMMABLE | 6 | 3-4-28W DIMMABLE | LED RETROFIT KIT WITH EXTERNAL BALLAST | [11 empty] | 6
L | 105-2 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 4
L | 105-3 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 105-4 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 105-5 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2
L | 205 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 206 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 207 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 209 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 210 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | MENS RESTROOM- 2ND | 5 | OS1-32W | 5 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 5
L | WOMENS RESTROOM- 2ND | 5 | OS1-32W | 5 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [7 empty] | 5
L | CUSTODIAL 2ND | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
L | 219 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 15
L | 218 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 217 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 215 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 214 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 213 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 212 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 211 | 2 | TR3-32W BILEVEL | 2 | 3-4-28W BILEVEL | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 | [10 empty] | 2
L | 2ND LEVEL PERIMETER BAY | 16 | 7 X 4'-32W PER BEAM BAY | 16 | 3-4-36W & 4-4-44W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | LAMPS LOCATED INSIDE THE BEAM BAYS | [10 empty] | 16 | 16
L | 2ND INTERIOR BAY | 10 | 7 X 4'-32W PER BEAM BAY | 10 | 3-4-36W & 4-4-44W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | LAMPS LOCATED INSIDE THE BEAM BAYS | [10 empty] | 10 | 10
L | 2ND CENTER BAY | 1 | 9 X 4'-32W ONE BEAM BAY | 1 | 9-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | LAMPS LOCATED INSIDE THE BEAM BAYS | [11 empty] | 2
L | 2ND CENTER BAY | 1 | 9 X 4'-32W ONE BEAM BAY | 1 | 9-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | LAMPS LOCATED INSIDE THE BEAM BAYS | [11 empty] | 2
L | 126-ELECTRICAL ROOM - 1ST FLOOR | 4 | OS2-32W | 4 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 4
L | 125-FIRE RISER | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1
Building L Totals | [8 empty] | 0 | 150 | 0 | 0 | 13 | 20 | 150 | 0 | 0 | 6 | 26 | 30 | 24 | 0 |  | 0
[7 empty] | BUILDING TOTALS |  | 663 | 1316 | 189 | 124 | 552 | 218 | 160 | 7 | 15 | 6 | 26 | 30 | 295 | 60 |  | 0

## SCC EXTERIOR
EXHIBIT A- SANTIAGO CANYON COLLEGE- EXTERIOR LIGHTING SURVEY
NO RESURVEY DONE
LOT/LOCATION | ROOM/DESCRIPTION | EXISTING FIXTURE QTY | EXISTING CONFIGURATION | NEW FIXTURE QTY | NEW REPLACEMENT | TYPE | NOTES | UNIT PRICE | EXTENDED PRICE
Lot 1 | Exterior | 37 | HPS250/1 | 37 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 2 | Exterior | 53 | HPS250/1 | 53 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 3 | Exterior | 34 | HPS250/1 | 34 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 4 | Exterior | 36 | HPS250/1 | 36 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 5 | Exterior | 6 | HPS250/1 | 6 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 6 | Exterior | 14 | HPS250/1 | 14 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Lot 7 | Exterior | 20 | HPS250/1 | 20 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Chapman Entry | Exterior | 14 | HPS250/1 | 14 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Staff Lot | Exterior | 7 | HPS250/1 | 7 | LED CASCADE 78W 1 LAMP | NEW FIXTURE
Walkway | Exterior | 42 | HPS70/1 | 42 | LED CASCADE 26W 1 LAMP | NEW FIXTURE
EXTERIOR TOTALS |  |  |  | 263 |  |  |  |  | 0
NOTE: ASSUME 277/480 VOLT REQUIREMENT FOR NEW CASCADE LIGHTS

## DOC INTERIOR
EXHIBIT A- DISTRICT OPERATIONS CENTER- INTERIOR LIGHTING SURVEY
COMPLETED AUGUST 7, 2014
BUILDING | ROOM/DESCRIPTION | EXISTING FIXTURE QTY | EXISTING CONFIGURATION | NEW QTY | NEW REPLACEMENT | TYPE | EMERGENCY BATTERY BALLAST | NOTES | 3-4-28W | 2-4-22W | 1-4-22W | 1-4-14W | 2-2-18W 2X2 | Battery BU | UNIT PRICE | EXTENDED PRICE
DOC BUILDING 1ST FLOOR | [13 empty] | 0
LEVEL 1 | 101 | 10 | TR3-32W | 10 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 1 |  | 10 |  |  |  |  | 1
LEVEL 1 | ELEV LOBBY | 6 | TR2-32W | 6 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 6 |  |  |  | 0
LEVEL 1 | ELEV LOBBY | 14 | OS1-32W | 14 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 14 |  | 0
LEVEL 1 | 125 | 9 | TR3-32W | 9 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 1 |  | 9 |  |  |  |  | 1
LEVEL 1 | 125-1A | 3 | OS2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 3 |  |  | 0
LEVEL 1 | BOARDROOM/EXECUTIVE | 42 | TR2-32W (2X2) | 42 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 42 | 0
LEVEL 1 | 103 | 6 | TR3-32W | 6 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 6 |  |  |  |  | 0
LEVEL 1 | 104 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 1 | 105 | 1 | TR2-32W (2X2) | 1 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 1 | 0
LEVEL 1 | 106 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 1 | HALLWAY | 13 | TR3-32W | 13 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 3 |  | 13 |  |  |  |  | 3
LEVEL 1 | 108 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 1 | FACILITIES/PURCHASING OPEN | 24 | TR3-32W | 24 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 2 |  | 24 |  |  |  |  | 2
LEVEL 1 | 109 OFFICES | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 15 |  |  |  |  | 0
LEVEL 1 | 112-4 | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2 |  |  | 0
LEVEL 1 | 113 | 8 | TR2-32W | 8 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 8 |  |  |  | 0
LEVEL 1 | 115 | 9 | TR3-32W | 9 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 2 |  | 9 |  |  |  |  | 2
LEVEL 1 | MENS | 3 | TR2-32S | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 1 | MENS | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 2 |  | 0
LEVEL 1 | WOMENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 1 | WOMENS | 2 | OS1-32W | 2 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 2 |  | 0
Level 1 Totals | [6 empty] | 9 |  | 94 | 20 | 5 | 18 | 43 | 9 | 0 | 0
DOC BUILDING 2ND FLOOR
LEVEL 2 | 201-OPEN | 15 | TR3-32W | DOC BUILDING 1ST FLOOR | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | DOC BUILDING 1ST FLOOR |  |  |  |  | 0
LEVEL 2 | 201-1 | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1 |  |  |  |  | 0
LEVEL 2 | 201-2 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 2 | 201-3 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 2 | 201-4 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 2 | 201-5 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 2 | 201-6 | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1 |  |  |  |  | 0
LEVEL 2 | 201-7 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 2 | HALLWAY | 23 | TR2-32W (2X2) | 23 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 9 | [5 empty] | 23 | 9
LEVEL 2 | 200-1 | 4 | OS2-32W | 4 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 4 |  |  | 0
LEVEL 2 | 225- ALL AREAS | 10 | TR3-32W | 10 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 10 |  |  |  |  | 0
LEVEL 2 | 230 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 2 | 235 | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 2 | MENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 2 | MENS | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2 |  |  | 0
LEVEL 2 | WOMENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 2 | WOMENS | 2 | OS2-32W | 2 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 2 |  |  | 0
LEVEL 2 | 240-NETWORK | 17 | TR3-32W | 17 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 17 |  |  |  |  | 0
LEVEL 2 | 250-ITS AREA | 62 | TR3-32W | 62 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 3 |  | 62 |  |  |  |  | 3
LEVEL 2 | 250-SERVER RM | 5 | TR3-32W | 5 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 5 |  |  |  |  | 0
LEVEL 2 | 245- SENATOR OFFICE | 26 | TR3-32W | 26 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 3 |  | 26 |  |  |  |  | 3
LEVEL 2 | 248 | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 2 | 251 | 11 | TR3-32W | 11 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 11 |  |  |  |  | 0
LEVEL 2 | ELEV LOBBY | 4 | OS2-32W | 4 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 4 |  |  | 0
Level 2 Totals | [6 empty] | 15 |  | 153 | 6 | 12 | 0 | 23 | 15 | 0 | 0
DOC BUILDING 3RD FLOOR
LEVEL 3 | HALLWAY | 18 | TR1-32W | 18 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 7 | E-BALLASTS TO BE COORDINATED WITH NEW EMERGENCY LIGHTING UPGRADES |  |  |  | 18 |  | 7
LEVEL 3 | 300-1 | 4 | OS2-32W | 4 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 4 |  |  | 0
LEVEL 3 | 302 | 10 | TR3-32W | 10 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 10 |  |  |  |  | 0
LEVEL 3 | 305 | 8 | TR3-32W | 8 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 8 |  |  |  |  | 0
LEVEL 3 | 315 | 9 | TR3-32W | 9 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | REPLACE EXISTING FIXTURES WITH NEW LITHONIA 18-CELL PARABOLIC | 9 |  |  |  |  | 0
LEVEL 3 | MENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 3 | MENS | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 1 |  |  | 0
LEVEL 3 | WOMENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 3 | WOMENS | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 1 |  |  | 0
LEVEL 3 | 318 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 4 |  |  |  |  | 0
LEVEL 3 | 319 | 12 | TR3-32W | 12 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 12 |  |  |  |  | 0
LEVEL 3 | 320 | 2 | TR2-32W | 2 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 2 |  |  |  | 0
LEVEL 3 | 330 & 338 | 13 | TR2-32W | 13 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 13 |  |  |  | 0
LEVEL 3 | 328 | 15 | TR3-32W | 15 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 15 |  |  |  |  | 0
LEVEL 3 | 350 | 37 | TR3-32W | 37 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 37 |  |  |  |  | 0
LEVEL 3 | 340 | 7 | TR2-32W | 7 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 7 |  |  |  | 0
LEVEL 3 | 345 | 9 | TR2-32W | 9 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 9 |  |  |  | 0
LEVEL 3 | 346 | 1 | TR2-32W | 1 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 1 |  |  |  | 0
LEVEL 3 | LEVEL 3- VARIOUS LOCATIONS | [5 empty] | 25 | TO BE COORDINATED WITH NEW EMERGENCY LIGHTING UPGRADES
Level 3 Totals | [6 empty] | 32 |  | 95 | 38 | 6 | 18 | 0 | 7 | 0 | 0
DOC BUILDING 4TH FLOOR
LEVEL 4 | 407- OPEN AREA (EAST) | 47 | TR3-32W | 47 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 5 | 6 | 47 |  |  |  |  | 5
LEVEL 4 | 407-OPEN AREA (WEST) | 56 | TR3-32W | 56 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST | 4 | 6 | 56 |  |  |  |  | 4
LEVEL 4 | 410 & 410-2 | 9 | TR3-32W | 9 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 9 |  |  |  |  | 0
LEVEL 4 | 409 | 6 | TR2-32W (2X2) | 6 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 6 | 0
LEVEL 4 | 410-1 | 6 | TR2-32W (2X2) | 6 | 2-2-18W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [6 empty] | 6 | 0
LEVEL 4 | 410-3 | 1 | TR3-32W | 1 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 1 |  |  |  |  | 0
LEVEL 4 | ALL PERIMETER OFFICES | 37 | TR3-32W | 37 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 37 |  |  |  |  | 0
LEVEL 4 | 407-8 | 4 | TR3-32W | 4 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | ALLOWANCE- NO ACCESS | 4 |  |  |  |  | 0
LEVEL 4 | 404-5 CORE AREA | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 4 | 404-6 CORE AREA | 2 | TR3-32W | 2 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 2 |  |  |  |  | 0
LEVEL 4 | 407-4 CORE AREA | 3 | TR3-32W | 3 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  | 3 |  |  |  |  | 0
LEVEL 4 | MENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 4 | MENS | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 1 |  |  | 0
LEVEL 4 | WOMENS | 3 | TR2-32W | 3 | 2-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  | 3 |  |  |  | 0
LEVEL 4 | WOMENS | 1 | OS2-32W | 1 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 1 |  |  | 0
LEVEL 4 | RECEPTION - 4TH FLOOR | 7 | TR3-32W | 7 | 3-4-28W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  | 2 | 7 |  |  |  |  | 0
LEVEL 4 | 401-1 | 3 | OS2-32W | 3 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 3 |  |  | 0
LEVEL 4 | ELEV LOBBY | 4 | OS1-32W | 4 | 1-4-14W | LED RETROFIT KIT WITH EXTERNAL BALLAST | [5 empty] | 4 |  | 0
Level 4 Totals | [6 empty] | 9 |  | 169 | 6 | 5 | 4 | 12 | 9 | 0 | 0
MECHANICAL WELL
ROOF | MECH & ELEC RM | 16 | OS2-32W | 16 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 16 |  |  | 0
Roof Totals | [6 empty] | 0 |  | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
STAIRWELLS
STAIRWELLS | SOUTH EMERGENCY STAIRS | 8 | TR2-32S | 8 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 8 |  |  | 0
STAIRWELLS | NORTH EMERGENCY STAIRS | 8 | TR2-32S | 8 | 1-4-22W | LED RETROFIT KIT WITH EXTERNAL BALLAST |  |  |  |  | 8 |  |  | 0
Stairwell Totals | [6 empty] | 0 |  | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
[6 empty] | Totals |  |  | 511 | 70 | 60 | 40 | 78 | 40 | 0 | 0

## SUMMARY
EXHIBIT A -SUMMARY PAGE
SANTIAGO CANYON COLLEGE INTERIOR
U | 0
T | 0
A | 0
B | 0
C | 0
E | 0
M | 0
G | 0
D | 0
L | 0
Totals | 0
SANTIAGO CANYON COLLEGE EXTERIOR (Est. material incl cost of 480V)
EXTERIOR LIGHTS | 0
Totals | 0
DISTRICT OPERATIONS CENTER
Level 1 | 0
Level 2 | 0
Level 3 | 0
Level 4 | 0
Roof | 0
Stairwell | 0
Totals | 0
ALLOWANCE ITEMS
ADDITIONAL EMERGENCY BATTERY BACKUP UNITS (INSTALLATION AND MATERIAL) | 20000
GYM LIGHTING CONFIGURATION | 10000
LENS REPLACEMENT | 5000
Totals | 35000
SUMMARY TOTALS
SCC Interior | 0
SCC Exterior | 0
District Office | 0
Specific Allowance | 35000
Subtotal Contractor Costs | 35000
***Contract Allowance (Unforeseen Conditions) | 50000
GRAND TOTAL | 85000
*** Review Proposal Form for allowance language

## UNIT PRICING
RANCHO SANTIAGO COMMUNITY COLLEGE DISTRICT
LED LIGHTING CONVERSION UNIT PRICING
Retrofit Description | Unit Pricing
2-4-22W | 0
3-4-28W | 0
4-4-36W | 0
2-2-18W 2X2 | 0
1-4-22W | 0
1-4-14W | 0
4' 18W Tubes with 1 36 watt driver | 0
1-2-9W | 0
3-4-36W | 0
4-4-44W | 0
Additional Driver-Bilevel | 0
Cireon HB | 0
Cireon Exterior Parking Lights | 0
Emergency Battery Backup units | 0